Aga Khan Rural Support Program (AKRSP)

REQUEST FOR QUOTATION (RFQ)

RFQ No: AKRSP/0031/2026         Delivery Point: Awi-Dumadumi, Upper Chitral

RFQ Date: February 7,2026	 Submission Date: February 18th ,2026

## SUBJECT: REQUEST FOR QUOTATION FOR SUPPLY, TRANSPORTATION, AND INSTALLATION OF HDPE PIPES INCLUDING CROSSING MATERIALS AND ACCESSORIES AT AWI–DUMADUMI, UPPER CHITRAL

## 1. INTRODUCTION

The Aga Khan Rural Support Programme (AKRSP) is a non-profit organization working to improve the quality of life of rural communities through integrated development initiatives focusing on infrastructure development, water supply schemes, livelihoods, climate resilience, and community empowerment.

AKRSP invites sealed quotations from qualified, experienced, and reputable firms for the supply, transportation, and installation of HDPE pipes, including all associated pipe-crossing materials, fittings, and accessories for a water supply scheme at Awi–Dumadumi, Upper Chitral.

This RFQ document provides detailed information regarding the scope of work, technical specifications, submission procedures, evaluation criteria, payment terms, and contractual obligations. Vendors are advised to read this document carefully and ensure full compliance with all instructions before submission.

Issuance of this RFQ does not constitute a commitment by AKRSP to award a contract, nor does it entitle any bidder to claim reimbursement for costs incurred in preparing or submitting a quotation.

## 2. OBJECTIVE OF THE PROCUREMENT

The objective of this procurement is to ensure the timely supply, safe transportation, and proper installation of HDPE pipes and related crossing materials in compliance with approved engineering designs, international standards, and AKRSP quality requirements, ensuring long-term durability and operational safety of the water supply system.

## 3. SCOPE OF WORK

The successful bidder shall be responsible for the complete execution of the following activities:

- Supply of HDPE pipes of specified pressure classes and approved manufacturers.

- Supply of all required valves, fittings, clamps, steel materials, wire ropes, anchorage rods, and accessories.

- Safe transportation of all materials to Chitral and onward to Awi–Dumadumi project site.

- Installation of HDPE pipes, including butt-fusion jointing and fittings.

- Coordination with AKRSP technical staff during inspection and installation.

- Compliance with all safety, environmental, and labor regulations.

The bidder must thoroughly review the Bill of Quantities (BOQ) and ensure that all items required for the successful completion of the works are included in their quotation.

## 4. ELIGIBILITY CRITERIA

Quotations are invited from firms that meet the following minimum requirements:

- Registered business entity operating in Pakistan.

- Proven experience in supply and installation of HDPE pipes and water supply schemes.

- Capacity to transport materials to remote and mountainous regions.

- Financial soundness and technical capability to complete the assignment within the stipulated timeline.

- Not blacklisted by any government, donor, or reputable organization.

Evaluation Criteria

Evaluation will be conducted in two stages:

Stage 1: Technical Evaluation (Pass/Fail)

- Relevant Experience: Minimum of one successfully completed project of similar nature or aggregate value not less than PKR 5 million within the last 3 years.

Stage 2: Financial Evaluation

Among technically qualified bidders, the lowest evaluated bidder (responsive and compliant) will be awarded the contract.

## 5. SUBMISSION REQUIREMENTS

- Quotations must be submitted on official company letterhead, duly signed and stamped.

- The quotation must include a complete BOQ, unit prices, total prices, applicable taxes, and validity period.

- All documents must be submitted in a sealed envelope clearly marked with RFQ number and subject.

- Incomplete, unsigned, or conditional quotations shall be considered non-responsive.

## 6. TERMS AND CONDITIONS

### 1. Compliance with RFQ Instructions

Bidders must strictly comply with all instructions, specifications, and conditions outlined in this RFQ. Failure to adhere to any requirement may result in rejection of the quotation without further evaluation. Conditional or partial compliance shall not be entertained.

### 2. Official Submission Format

All quotations must be submitted on the bidder’s official letterhead, clearly mentioning the RFQ number, date, and subject. The quotation must be signed by an authorized representative whose designation and contact details are clearly stated.

### 3. Sealed Quotation Requirement

Quotations must be submitted in sealed envelopes to maintain confidentiality and fairness in the procurement process. Any quotation received in an unsealed or tampered envelope shall be rejected.

### 4. Deadline Compliance

Quotations received after the stipulated submission deadline shall not be considered, regardless of the reason for delay. AKRSP shall not be responsible for courier delays or logistical issues faced by bidders.

### 5. Price Quotation and Currency

All prices must be quoted in Pakistani Rupees (PKR). Prices shall be inclusive of supply, transportation, installation, taxes, duties, and any other costs necessary to complete the assignment.

### 6. Price Validity Period

Quoted prices must remain valid for a minimum period of one (01) month from the last date of bid submission. Quotations with shorter validity periods shall be deemed non-responsive.

### 7. Price Adjustment and Variations

No price escalation or variation due to market fluctuations, fuel prices, exchange rate changes, or any other factor shall be entertained after submission of quotations or award of contract.

### 8. Unit Rate Precedence

In case of discrepancies between unit prices and total prices, the unit price shall prevail, and totals shall be recalculated accordingly. The bidder must accept the corrected price to remain eligible.

### 9. Quantity Adjustment Rights

AKRSP reserves the right to increase or decrease quantities at the time of award or during execution without changing unit rates, terms, or conditions.

### 10. Transportation Responsibility

The supplier shall be solely responsible for safe transportation of all materials to Chitral and onward to the project site. Any damage, loss, or shortage during transportation shall be borne by the supplier.

### 11. Travel, Accommodation, and Logistics

All costs related to travel, accommodation, meals, loading, unloading, and site logistics during supply and installation shall be the responsibility of the supplier.

### 12. Design and Technical Compliance

All materials supplied must strictly comply with approved designs, pressure ratings, and specifications. Substandard or non-compliant materials shall be rejected at the supplier’s cost.

### 13. Inspection and Quality Assurance

AKRSP reserves the right to inspect materials at Chitral or at the project site. Materials failing inspection shall be replaced by the supplier without any additional cost to AKRSP.

### 14. Installation Standards

Installation work must be carried out by qualified technicians using approved methods, including proper butt-fusion jointing. Poor workmanship may result in rejection and reinstallation at the supplier’s expense.

### 15. Delivery and Installation Timeline

### Supply and transportation shall be completed within fifteen (15) days of signing the agreement. Installation shall be completed within fifteen (15) days after the completion of the pipe crossing structure over the Yarkhun River. The scope of installation under the BOQ includes only pipes and accessories; installation of crossing materials is not included in the BOQ.

### 16. Payment Terms

Payments shall be made in two installments:

- 90% after delivery to Chitral and successful inspection.

- 10% after completion of installation of pipes and accessories.

The Contractor is responsible for executing all works with due care, providing a Performance Bond, and ensuring tender sufficiency and satisfactory performance. Mandatory insurance for works, materials, and third-party liability must be secured in Pakistan, with premiums recoverable by the AKRSP if the Contractor defaults. The Works must be completed within the stipulated time, subject to liquidated damages for delays, with payments made via interim certificates retaining 10%, released after completion. Following completion, the Contractor must rectify defects during the Maintenance Period at its own cost if due to faulty workmanship or materials. The AKRSP may terminate the contract for Contractor default or insolvency, appoint a replacement, and recover all additional costs from the Contractor’s dues. Final payment is made after a Maintenance Certificate is issued, settling all accounts and deductions.

### 17. Taxes and Duties

All quoted prices must be inclusive of all applicable taxes, including GST and WHT. AKRSP shall not entertain any additional tax claims after award.

### 18. Bid Security Requirement

Each bidder must submit a bid security equal to 2.5% of the total bid price in the form of CDR, Pay Order, Bank Draft, or Bank Guarantee issued by a scheduled bank of Pakistan in favor of AKRSP.

### 19. Forfeiture of Bid Security

Bid security may be forfeited if a bidder withdraws the quotation during validity, refuses contract signing, or fails to commence work as agreed.

### 20. Conflict of Interest Disclosure

Bidders must disclose any actual or potential conflict of interest. Failure to disclose may result in disqualification or termination of contract if discovered later.

### 21. Integrity, Fraud, and Ethical Conduct

AKRSP maintains zero tolerance for fraud, corruption, misrepresentation, or unethical practices. Any involvement in such acts shall lead to immediate disqualification and possible blacklisting.

### 22. Cartelization and Rate Manipulation

Any evidence of cartelization, price fixing, or submission of multiple bids under different names shall result in cancellation of procurement and blacklisting of involved entities.

### 23. Blacklisting Declaration

Bidders must confirm that they are not blacklisted by any government, donor agency, or reputable organization. False declarations shall lead to permanent disqualification.

### 24. Child Labor Prohibition

The use of child labor is strictly prohibited. The supplier must comply with national labor laws and international conventions related to child protection and workers’ rights.

### 25. Occupational Health and Safety

The supplier must ensure safe working conditions at all times and provide necessary personal protective equipment (PPE) to workers. AKRSP shall not be liable for accidents or injuries.

### 26. Environmental Responsibility

The supplier shall minimize environmental impact during transportation and installation and ensure proper disposal of waste materials.

### 27. Non-Binding Nature of RFQ

This RFQ does not bind AKRSP to award a contract. AKRSP reserves the right to accept or reject any or all quotations without assigning reasons.

### 28. Cancellation Rights

AKRSP reserves the right to cancel the procurement process at any stage without incurring any liability.

The AKRSP may terminate the contract if the Contractor becomes insolvent, assigns the contract without consent, or fails to perform its obligations despite warnings. After a 14-day written notice, the Purchaser may hire another contractor to complete the work without voiding the original contract. The Purchaser will then assess and certify the value of work reasonably completed by the original Contractor. Final payment will only be made after all completion costs, damages, and expenses incurred by the Purchaser are deducted.

29. Dispute Resolution & Arbitration

Any dispute must first be submitted to the Purchaser for a written decision within 90 days. If either party is dissatisfied, or if the Purchaser fails to decide within 90 days, the matter proceeds to arbitration in Pakistan under Pakistani law. A single arbitrator will be appointed with full authority to review and revise any prior decisions. Arbitration may proceed even during ongoing works and does not alter contractual obligations. The Purchaser’s earlier decision does not prevent them from later giving evidence in arbitration.

### 30. Pipe Resin Supplier Requirement

Only resins from the approved suppliers listed below can be used in manufacturing the pipes. Any proposed change in supplier must receive prior written approval from AKRSP.

Approved Resin Suppliers List

Borealis, Borouge, LyondellBasell, Prime Polymer, Sabic, SCG, Sinopec, Tasnee, IRPC, BP Rigitex, Petronas, Solvay, Phillips 66, Fina,Dow, Dupont Novocan, Daelim

Pipe Pressure Testing Requirements

Unless otherwise stated, all pipes must: Withstand field test pressure as per DIN 4279.

Undergo works pressure testing following relevant DIN or ISO standards.

### 31. Condensed Technical Specification for HDPE Pipes & Fittings

All pipes and fittings must comply with ISO 4427 / DIN 8074/8075 and equivalent standards for PN 10/PN 16 pressure rating. Pipes shall be made from PE 100 grade HDPE (density ≥0.945 g/cm³) with a minimum induced wall stress of 5 N/mm² at 27°C, using only approved virgin material from listed suppliers, with a supporting manufacturer's certificate detailing material specifications and permissible rework per DIN standards. Pipes must be black with a continuous blue stripe for potable water, clearly marked at intervals with manufacturer details, size, pressure rating, ISO standard, and "Aga Khan Rural Support Program." All fittings must be pressure-rated to minimum PN 10, 16 compatible with pipe specifications, and suitable for drinking water, meeting WHO/EEC leaching limits, with joints made via heat fusion or approved compression-type mechanical couplings.

## 7. SUBMISSION ADDRESS

Sealed quotations must be submitted by hand or courier to:

Regional Office Aga Khan Rural Support Programme (AKRSP) Near Shahi Qilla, District  Chitral lower

Submission Deadline: Sealed quotations must be submitted by hand or courier to the Regional Office, AKRSP, near Shahi Qilla, Chitral, by COB. February 18th ,2026

Admin & Procurement Officer,		Vendor Receipt & Acknowledgement

AKRSP Chitral		Name: _________________________

Designation: _____________________

Sign & Stamp

Description of Works: Supply, transportation, and installation of HDPE pipes, including all associated crossing materials and accessories, at Awi Dumadumi, Upper Chitral.

BOQ Table

| Sr. No. | Item Description with specifications | Units | Inner Dia (mm) | Wall Thickness (mm) | Weight (kg/m) | Quantity | Unit Price (PKR) | Total Price (PKR) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | HDPE Pipe PN-16, PE-100, 90 mm OD. Single pipe length ≈ 328 rft. Approved manufacturers: Dadex, IIL, Sun International, Jamal Pipes. | Rft |  |  |  | 4,500 |  |  |
| 2 | HDPE Pipe PN-12.5, PE-100, 90 mm OD. Single pipe length ≈ 328 rft. Approved manufacturers as above. | Rft |  |  |  | 4,500 |  |  |
| 3 | 3-inch, Full bore ball type, body of forged carbon steel or stainless steel, PN-16 (New) | No | N/A | N/A | N/A | 3 |  |  |
| 4 | Air Valve, 1-inch, double orifice, PN-16, Italian | No | N/A | N/A | N/A | 3 |  |  |
| 5 | Saddle Clamp 90 mm × 25 mm, PN-16, approved make Aurangul / Fish / Hydroplast only. | No | N/A | N/A | N/A | 3 |  |  |
| 6 | Female Threaded Adapter (FTA) 90 mm × 3-inch, PN-16, approved make Aurangul / Fish / Hydroplast only. | No | N/A | N/A | N/A | 6 |  |  |
| 7 | GI Nipple 3-inch, Heavy Class, threaded both ends, hot-dip galvanized. | No | N/A | N/A | N/A | 6 |  |  |
| 8 | Steel Wire Rope, 1-inch Dia, Construction 6×19 IWRC, Grade EIPS, Weight 0.839 kg/ft, New, | Rft | N/A | N/A | N/A | 4,201 |  |  |
| 9 | MS Steel Girder 6″×3″, Length 20 ft, Web 6 mm, Flange 8 mm, Weight ≈ 5.25 kg/ft. | Kg | N/A | N/A | N/A | 210 |  |  |
| 10 | MS Steel Plate 4 mm thick, 2 Nos, Length 12 ft, Width 1 ft, approx. 2.9 kg/sft. | Kg | N/A | N/A | N/A | 70 |  |  |
| 11 | Anchorage Rods, Dia 1½-inch, Length 10 ft, MS, threaded ends with nuts & washers. | No | N/A | N/A | N/A | 168 |  |  |
| 12 | MS Clamps, made from 3-inch wide × 3 mm thick MS strip, approx. 1.5 kg per clamp, complete with nut & bolt. | No | N/A | N/A | N/A | 999 |  |  |
| 13 | Bulldog Grips / Wire Rope Clips, 28 mm (1-inch) size, heavy-duty, drop-forged high-tensile carbon steel, hot-dip galvanized. | No | N/A | N/A | N/A | 24 |  |  |
| 14 | Installation cost of HDPE pipes, including butt-fusion jointing and fittings. | No | N/A | N/A | N/A | 30 |  |  |
| 15 | Transportation cost of pipes and all crossing materials to project site at Parwak and Awi | LMS | N/A | N/A | N/A | 1 |  |  |
|  |  |  |  |  |  | Total cost |  |  |
|  |  |  |  |  |  | GST/WHT if applicable |  |  |
|  |  |  |  |  |  | Grand Total including GST/WHT |  |  |