Aga Khan Rural Support Program (AKRSP)

REQUEST FOR QUOTATION (RFQ)

RFQ No: AKRSP/0029/2026         Delivery Point: Khotanlasht, Yarkhun Upper Chitral

RFQ Date: February 2,2026    Submission Date: February 12,2026

# Request For Quotation (RFQ) For Supply & Transportation Of HDPE & G.I Pipes Including Accessories at Khotanlasht, Upper Chitral

## 1. Introduction and Background

The Aga Khan Rural Support Programme (AKRSP) is a not-for-profit development organization working to improve the quality of life of rural communities through sustainable infrastructure development, livelihood enhancement, and institutional strengthening initiatives. In line with its ongoing community infrastructure development interventions in the Chitral region, AKRSP intends to undertake the supply & transportation, of HDPE and Galvanized Iron (G.I) pipelines along with all associated fittings and accessories at Khotanlasht, Upper Chitral.

To achieve this objective, AKRSP invites sealed quotations from qualified, experienced, and reputable vendors, suppliers, and service providers who possess the technical capacity, financial soundness, and relevant experience to execute the assignment in accordance with the specifications, standards, and timelines outlined in this Request for Quotation (RFQ) document. The purpose of this RFQ is to solicit competitive pricing while ensuring quality, durability, and compliance with approved standards suitable for the geographical and climatic conditions of Upper Chitral.

This RFQ document provides comprehensive information regarding the scope of work, technical requirements, bill of quantities, submission procedures, evaluation methodology, and detailed terms and conditions governing the procurement process. All prospective bidders are expected to carefully review the entire document prior to submission of their quotations and ensure full compliance with the stated requirements.

## 2. Purpose of the RFQ

The primary purpose of this RFQ is to engage a competent vendor for the supply & transportation, of HDPE and G.I pipes and accessories required for a water supply and distribution system at Khotanlasht, Upper Chitral. The selected vendor shall be responsible for delivering all materials to the designated project site and ensuring that the supplied items strictly conform to the specified technical standards, approved brands, and quantities.

AKRSP seeks to ensure transparency, fairness, and competitiveness in the procurement process, and therefore invites quotations from vendors who are capable of delivering high-quality materials within the stipulated timeframe and at competitive market rates. This RFQ does not constitute a contract or commitment on the part of AKRSP to award a contract, nor does it obligate AKRSP to pay for any costs incurred by bidders in preparing or submitting their quotations.

## 3. Scope of Work and Requirements

The scope of work under this RFQ includes the complete supply, loading, transportation, unloading, support of HDPE pipes, G.I pipes, valves, fittings, accessories, and all other related materials as specified in the Bill of Quantities (BoQ). The materials are intended for installation in a mountainous and remote area; therefore, vendors must take into account terrain challenges, transportation logistics, and handling requirements while preparing their quotations.

The supplier shall ensure that all HDPE pipes are PN-10, PE-100 grade and fully compliant with ISO 4427 and PS 3580 standards. Only approved brands mentioned in the BoQ shall be acceptable, and any deviation from the specified brands or standards may result in rejection of the quotation or supplied materials. All G.I pipes, valves, and accessories must be heavy duty as specified, and shall be hot dip galvanized where required to ensure corrosion resistance and long-term durability.

The vendor is expected to provide complete and functional materials, including all necessary fittings, couplings, adapters, valves, saddles, insulation materials, and accessories to ensure seamless installation and operation of the pipeline system. Partial supply or omission of required components shall not be acceptable.

## 4. General Instructions to Bidders

All interested vendors are required to submit their quotations in sealed envelopes clearly marked with the RFQ number and subject. Quotations must be submitted on the company’s official letterhead, duly dated, signed, and stamped by an authorized representative of the firm. Any quotation not meeting these basic submission requirements shall be considered non-responsive and may be rejected without further evaluation.

Vendors are advised to carefully study the specifications, quantities, and terms outlined in this RFQ document prior to submission. Any request for clarification must be made within the timeframe communicated by AKRSP; however, failure to seek clarification shall not be considered a valid reason for non-compliance at a later stage. By submitting a quotation, the vendor confirms that they have fully understood and accepted all requirements, conditions, and obligations stated in this RFQ.

## 5. Terms and Conditions

### 5.1 Submission and Documentation Requirements

All quotations must be complete in all respects and submitted in accordance with the instructions provided in this RFQ. The quotation must include unit rates, total prices, applicable taxes, and any other costs associated with the supply & transportation, and delivery of materials to the project site. Incomplete quotations, conditional offers, or quotations submitted without proper authorization shall be rejected.

The bidder is solely responsible for ensuring that their quotation reaches the designated office by the submission deadline. Late submissions, whether due to courier delays or any other reason, shall not be entertained. AKRSP shall not be held responsible for any loss, misplacement, or delay of submitted quotations.

### 5.2 Compliance with Specifications and Standards

All materials supplied under this RFQ must strictly comply with the technical specifications, approved brands, and standards stated in the BoQ. Compliance with ISO, PS, and other applicable international and national standards is mandatory to ensure quality, safety, and durability of the infrastructure.

AKRSP reserves the right to inspect materials at any stage, either at the supplier’s premises, at Chitral, or at the project site. Any material found to be substandard, defective, or not in accordance with the specified requirements shall be rejected. The supplier shall bear all costs associated with replacement, re-transportation, and re-inspection without any additional financial implication for AKRSP.

### 5.3 Price Quotation and Price Adjustment

All quoted prices must be firm, fixed, and inclusive of all applicable taxes, duties, transportation costs, loading, unloading, and any other incidental expenses. No price escalation or adjustment shall be allowed after submission of the quotation under any circumstances, including fluctuations in market prices, exchange rates, or fuel costs.

In case of any discrepancy between the unit price and the total price, the unit price shall prevail, and the total price shall be recalculated accordingly by AKRSP. The bidder shall be bound to accept the corrected price, failing which the quotation may be rejected.

### 5.4 Evaluation and Award of Contract

The evaluation of quotations shall be carried out primarily on a financial basis, provided that the bidder meets all technical, administrative, and compliance requirements specified in this RFQ. The contract shall be awarded to the lowest evaluated bidder whose quotation is found to be responsive, complete, and compliant with all terms and conditions.

AKRSP reserves the right to accept or reject any or all quotations, either wholly or partially, without assigning any reason. The decision of AKRSP in this regard shall be final and binding, and no correspondence or negotiation shall be entertained after the award decision.

### 5.5 Quantity Variation and Non-Binding Nature

AKRSP reserves the right to increase or decrease the quantities specified in the BoQ at the time of contract award without any change in unit rates or other terms and conditions. The bidder shall be bound to honor the quoted rates for any revised quantities within reasonable limits.

This RFQ is non-binding in nature, and issuance of this document does not constitute a commitment or obligation on the part of AKRSP to award a contract or reimburse any costs incurred by bidders during the preparation or submission of quotations.

### 5.6 Conflict of Interest and Ethical Compliance

AKRSP is committed to maintaining the highest standards of transparency, integrity, and ethical conduct in all procurement activities. Bidders are required to disclose any actual or potential conflict of interest that may arise in relation to this RFQ, including direct or indirect involvement in the preparation of specifications or evaluation processes.

Any attempt to influence the procurement process, engage in collusion, cartelization, or submit fraudulent information shall result in immediate disqualification and may lead to blacklisting of the firm from future AKRSP procurements.

### 5.7 Transportation, Logistics, and Site Responsibilities

The supplier shall be fully responsible for arranging safe and secure transportation of all materials to the project site at Khotanlasht, Yarkhun Upper Chitral. Given the remote and mountainous terrain, vendors are expected to plan logistics carefully and ensure timely delivery without damage or loss of materials.

All travel, accommodation, meals, and logistical arrangements for the supplier’s personnel during the supply & transportation period shall be the sole responsibility of the supplier, and no additional claims shall be entertained by AKRSP in this regard.

### 5.8 Delivery Timeline and Completion

The complete supply & transportation of materials must be completed within fifteen (15) working days from the date of signing of the agreement or issuance of the purchase order. Timely delivery is critical to the success of the project, and any unjustified delay may result in penalties, rejection of materials, or termination of the agreement.

The supplier shall coordinate closely with AKRSP’s field team to ensure smooth delivery, unloading, and verification of materials at the project site.

### 5.9 Payment Terms

Payment shall be made in a single instalment amounting to one hundred percent (100%) of the contract value after complete delivery of materials to the project site and successful inspection and acceptance by AKRSP. No advance or partial payments shall be made under this contract.

The supplier shall submit a complete invoice along with delivery challans and any other required documentation to facilitate timely processing of payment.

### 5.10 Validity, Cancellation, and Governing Authority

All quoted rates shall remain valid for a minimum period of one month from the last date of quotation submission. AKRSP reserves the right to cancel the procurement process at any stage without assigning any reason and without incurring any liability towards the bidders.

This RFQ and any resulting contract shall be governed by the applicable laws of Pakistan, and any disputes shall be resolved amicably through mutual consultation.

## 6. Submission Address

Sealed quotations must be submitted by hand or courier to the following address no later than COB, February 12, 2026:

Admin & Procurement Officer,		Vendor Receipt & Acknowledgement

AKRSP Chitral

Name: _________________________

Designation: _____________________

Sign & Stamp

Description of Works: Supply and transportation, of HDPE & G.I pipes, including all associated accessories, at Khotanlasht, Upper Chitral.

BOQ Table

| Sr. No. | Item Description with specifications | Units | Quantity | Unit Price (PKR) | Total Price (PKR) |
| --- | --- | --- | --- | --- | --- |
| 1 | HDPE Pipe, PN-10, PE-100, OD 90 mm, compliant with ISO 4427 / PS 3580. Approved brands: IIL, Dadex, Sun International, Jamal Company only. | RFT | 2000 |  |  |
| 2 | HDPE Pipe, PN-10, PE-100, OD 75 mm, compliant with ISO 4427 / PS 3580. Approved brands: IIL, Dadex, Sun International, Jamal Company only. | RFT | 1394 |  |  |
| 3 | HDPE Pipe, PN-10, PE-100, OD 63 mm, compliant with ISO 4427 / PS 3580. Approved brands: IIL, Dadex, Sun International, Jamal Company only. | RFT | 836 |  |  |
| 4 | HDPE Pipe, PN-10, PE-100, OD 50 mm, compliant with ISO 4427 / PS 3580. Approved brands: IIL, Dadex, Sun International, Jamal Company only. | RFT | 2070 |  |  |
| 5 | HDPE Pipe, PN-10, PE-100, OD 40 mm, compliant with ISO 4427 / PS 3580. Approved brands: IIL, Dadex, Sun International, Jamal Company only. | RFT | 1312 |  |  |
| 6 | HDPE Pipe, PN-10, PE-100, OD 32 mm, compliant with ISO 4427 / PS 3580. Approved brands: IIL, Dadex, Sun International, Jamal Company only. | RFT | 4412 |  |  |
| 7 | HDPE Pipe, PN-10, PE-100, OD 25 mm, compliant with ISO 4427 / PS 3580. Approved brands: IIL, Dadex, Sun International, Jamal Company only. | RFT | 1214 |  |  |
| 8 | HDPE Pipe, PN-10, PE-100, OD 20 mm, compliant with ISO 4427 / PS 3580. Approved brands: IIL, Dadex, Sun International, Jamal Company only. | RFT | 984 |  |  |
| 9 | Equal Coupling, HDPE, 90 mm, PN-10, compression type. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 7 |  |  |
| 10 | Equal Coupling, HDPE, 75 mm, PN-10, compression type. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 5 |  |  |
| 11 | Equal Coupling, HDPE, 63 mm, PN-10, compression type. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 3 |  |  |
| 12 | Equal Coupling, HDPE, 50 mm, PN-10, compression type. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 7 |  |  |
| 13 | Equal Coupling, HDPE, 40 mm, PN-10, compression type. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 5 |  |  |
| 14 | Equal Coupling, HDPE, 32 mm, PN-10, compression type. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 15 |  |  |
| 15 | Equal Coupling, HDPE, 25 mm, PN-10, compression type. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 5 |  |  |
| 16 | Equal Coupling, HDPE, 20 mm, PN-10, compression type. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 5 |  |  |
| 17 | Reducing Tee, HDPE, 75 x 63 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 3 |  |  |
| 18 | Reducing Tee, HDPE, 63 x 40 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 19 | Reducing Tee, HDPE, 40 x 32 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 20 | Reducing Tee, HDPE, 63 x 50 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 21 | Reducing Tee, HDPE, 50 x 32 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 3 |  |  |
| 22 | Reducing Tee, HDPE, 32 x 25 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 3 |  |  |
| 23 | Reducing Tee, HDPE, 50 x 32 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 24 | Reducing Coupling, HDPE, 75 x 63 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 3 |  |  |
| 25 | Reducing Coupling, HDPE, 20 x 32 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 1 |  |  |
| 26 | Reducing Coupling, HDPE, 32 x 25 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 1 |  |  |
| 27 | Reducing Coupling, HDPE, 63 x 50 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 4 |  |  |
| 28 | Reducing Coupling, HDPE, 63 x 32 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 29 | Reducing Coupling, HDPE, 40 x 32 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 5 |  |  |
| 30 | Reducing Coupling, HDPE, 50 x 32 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 3 |  |  |
| 31 | Equal Tee, HDPE, 50 x 50 mm, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 32 | Clamp Saddle, HDPE, 75 x 25 mm, PN-10, complete with rubber gasket and bolts. | Nos | 3 |  |  |
| 33 | Clamp Saddle, HDPE, 63 x 25 mm, PN-10, complete with rubber gasket and bolts. | Nos | 2 |  |  |
| 34 | Clamp Saddle, HDPE, 50 x 25 mm, PN-10, complete with rubber gasket and bolts. | Nos | 4 |  |  |
| 35 | Clamp Saddle, HDPE, 40 x 25 mm, PN-10, complete with rubber gasket and bolts. | Nos | 4 |  |  |
| 36 | Clamp Saddle, HDPE, 50 x 20 mm, PN-10, complete with rubber gasket and bolts. | Nos | 1 |  |  |
| 37 | Female Adapter, HDPE, 90 mm x threaded GI insert, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 38 | Female Adapter, HDPE, 75 mm x threaded GI insert, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 39 | Male Adapter, HDPE, 75 mm x threaded GI insert, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 40 | Male Adapter, HDPE, 25 mm x threaded GI insert, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 10 |  |  |
| 41 | Male Adapter, HDPE, 40 mm x threaded GI insert, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 3 |  |  |
| 42 | Male Adapter, HDPE, 32 mm x threaded GI insert, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 43 | Male Adapter, HDPE, 25 mm x threaded GI insert, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 2 |  |  |
| 44 | Male Adapter, HDPE, 20 mm x threaded GI insert, PN-10. Approved brands: Aurangul, Fish, Hydroplast only. | Nos | 5 |  |  |
| 45 | Male Bend, HDPE, 20 mm, PN-10, compression type. | Nos | 10 |  |  |
| 46 | End Plug, HDPE, 25 mm, PN-10. | Nos | 8 |  |  |
| 47 | GI Nipple, 3 inch, medium class, hot dip galvanized. | Nos | 1 |  |  |
| 48 | Air Vent Pipe, GI medium class, dia 2.5 inch, length 3 ft, threaded both ends. | Nos | 1 |  |  |
| 49 | GI Pipe, medium class, dia 2.5 inch, hot dip galvanized. | RFT | 40 |  |  |
| 50 | GI Pipe, medium class, dia 0.5 inch, hot dip galvanized. | RFT | 60 |  |  |
| 51 | GI Socket, dia 0.5 inch, China make, medium class. | Nos | 14 |  |  |
| 52 | GI Socket, dia 2.5 inch, China make, medium class. | Nos | 4 |  |  |
| 53 | GI Nipple, dia 0.5 inch, China make, medium class. | Nos | 14 |  |  |
| 54 | GI Elbow, dia 0.5 inch, China make, medium class. | Nos | 28 |  |  |
| 55 | Brass Strainer, Italian make, dia 2.5 inch, heavy duty. | Nos | 1 |  |  |
| 56 | Gate Valve, Moghul make, dia 3 inch, PN-16, flanged ends. | Nos | 1 |  |  |
| 57 | Gate Valve, Moghul make, dia 2.5 inch, PN-16, flanged ends. | Nos | 1 |  |  |
| 58 | Gate Valve, Moghul make, dia 1.5 inch, PN-16, threaded ends. | Nos | 1 |  |  |
| 59 | Gate Valve, Moghul make, dia 1.25 inch, PN-16, threaded ends. | Nos | 1 |  |  |
| 60 | Gate Valve, Moghul make, dia 0.5 inch, PN-16, threaded ends. | Nos | 1 |  |  |
| 61 | Air Valve, Italian make, dia 1 inch, single orifice, PN-16. | Nos | 2 |  |  |
| 62 | End Plug, GI, dia 3 inch, medium class. | Nos | 2 |  |  |
| 63 | Bib Cock, Faisal make or Italian, dia 0.5 inch, brass, heavy duty. | Nos | 14 |  |  |
| 64 | Metal Cover, galvanized steel, 10 gauge, size 2 ft x 2 ft. | Nos | 4 |  |  |
| 65 | Stand Post Frame, MS, 12 gauge, complete with base plate. | Nos | 2 |  |  |
| 66 | Insulation Material, foam, thickness 40 mm, length 6 ft, suitable for 40 mm pipe. | Nos | 14 |  |  |
| 67 | Thread Tape (PTFE), Lum Sum or equivalent quality. | Nos | 35 |  |  |
| 68 | Supply, loading, unloading, and transportation of all materials Khotan Lasht, Yarkhun Upper, Chitral | L.S. | 1 |  |  |
| Total cost |  |  |  |  |
| GST if applicable |  |  |  |  |
| Grand Total including GST |  |  |  |  |