Aga Khan Rural Support Program (AKRSP)

REQUEST FOR QUOTATION (RFQ)

Aga Khan Rural Support Program (AKRSP)

REQUEST FOR QUOTATION (RFQ)

RFQ No: AKRSP/0028/2026         Delivery Point: Khotanlasht, Yarkhun Upper Chitral

RFQ Date: February 2,2026    Submission Date: February 12,2026

Request For Quotation (RFQ) For the Supply, Transportation, Installation, Testing, and Commissioning of all materials and equipment required for the project.

Background

Aga Khan Rural Support Program (AKRSP) is committed to improving water supply systems in remote and underserved regions of Upper Chitral. As part of its ongoing initiatives, AKRSP intends to implement a Solar Lift Water Supply Scheme at Khotanlasht, Yarkhoon, to provide a sustainable, reliable, and environmentally friendly water supply solution for the local population. This RFQ invites qualified and experienced service providers to submit sealed quotations for the Supply, Transportation, Installation, Testing, and Commissioning of all materials and equipment required for the project.

Objective

The primary objective of this procurement is to select a competent vendor who can:

- Supply high-quality solar panels, submersible pumping sets, inverters, cabling, mounting structures, and other associated accessories.

- Ensure timely and safe transportation of materials to the Khotanlasht, Yarkhoon project site, located 140 km from district Chitral town.

- Install, test, and commission the Solar Lift Water Supply System in full compliance with the project specifications and performance requirements.

- Provide operational and performance documentation, including warranties, manuals, and training as required.

Scope of Work

The scope of work for this RFQ includes, but is not limited to:

- Procurement of all solar, electrical, mechanical, and civil components for the system.

- Safe transportation and handling of equipment and materials to the project site.

- Civil works including foundation pads for solar panels and mounting structures.

- Installation of solar panels, pump sets, inverters, electrical cabling, earthing, and accessories.

- Testing and commissioning of the system to achieve 4.5 LPS discharge and 246-ft dynamic head, delivering water through 2000-ft HDPE 90mm piping.

- Provision of as-built drawings, test certificates, and operation manuals.

- Comprehensive technical support and adherence to manufacturer warranty terms.

Terms & Conditions for Submission of Sealed Quotations

The following terms and conditions govern the submission of quotations. All vendors must adhere to them carefully.

- Quotation Submission Format:
Quotations must be submitted on the official company letterhead, including date, signature, and stamp. Each page must be numbered, signed, and sealed. Quotations submitted in any other format or without required documentation will be considered non-responsive.

- Compliance with Specifications:
All items and services quoted must strictly comply with the technical specifications provided in this RFQ. Vendors must submit complete datasheets and relevant certifications for each item. Partial compliance or deviation will result in disqualification.

- Price Calculation & Discrepancies:
Prices must be quoted in PKR inclusive of all applicable taxes. Any discrepancies between unit rates and total price will be corrected by AKRSP, with the unit rate prevailing. Vendors must accept such corrections to avoid bid rejection.

- No Price Variation:
Quoted rates must remain fixed and valid for at least one month from submission date. No requests for price adjustment due to market fluctuations will be entertained.

- Non-Binding Nature:
This RFQ does not constitute an obligation for AKRSP to award the contract. AKRSP reserves the right to accept or reject any or all quotations without providing justification.

- Conflict of Interest:
Vendors must disclose any real, perceived, or potential conflict of interest. Direct or indirect involvement in RFQ preparation, familial relations, or business ties must be reported to maintain integrity and transparency.

- Transportation Responsibility:
Suppliers are fully responsible for safe handling, transportation, and delivery of all materials to the project site. Any damage during transit will be replaced at the vendor’s cost.

- Travel, Accommodation, and Meals:
Suppliers shall arrange their own travel, lodging, and meals during the supply and installation period unless otherwise agreed in writing. AKRSP will not bear any related costs.

- Design Compliance:
All supplied materials and installation must strictly follow approved design standards. Deviations or redundancy beyond specified requirements are strictly prohibited.

- Inspection & Rejection:
Materials and installations will be inspected at AKRSP Chitral or the project site. Any deviation from specifications will lead to rejection, and the supplier will bear replacement costs.

- Technical Evaluation:
Bidders will be evaluated on a Pass/Fail basis:

- Work Experience: Minimum 2 references of solar pumping system installation in the last 5 years, with detailed completion certificates.

- Design Validation: Submission of pump and motor performance curves with system efficiency calculations is mandatory.

- Financial Evaluation:
Only technically compliant bids will be evaluated financially. The lowest-priced bidder among qualified vendors will be awarded the contract.

- Payment Terms:

- 90% payment after material delivery and inspection at the site.

- 10% payment upon completion of installation, testing, and commissioning.

- Taxes:
All prices must be inclusive of federal, provincial, and local taxes, duties, levies, and surcharges. No additional taxes will be paid separately.

- Mobilization Advance:
Vendors may request a mobilization advance. Such advances require a bank guarantee or call deposit equal to the advance amount, issued by a scheduled bank in Pakistan.

- Rate Reasonableness:
Vendors must ensure their quoted rates are reasonable and aligned with market prices. Significant deviations may result in bid disqualification.

- Cartelization Prohibition:
Any evidence of collusion, bid-rigging, or cartel formation will lead to disqualification and blacklisting. Vendors must declare that they are not part of any cartel arrangements.

- Child Labor & Ethical Compliance:
Suppliers must comply with national labor laws and international conventions. Use of child labor or forced labor will result in immediate disqualification and legal action.

- Safety & Security:
All activities at the site must comply with occupational health, safety standards, and security protocols. Suppliers are responsible for the safety of personnel, equipment, and materials during installation.

- Validity of Quotations:
Quoted prices must remain valid for at least 30 days from the submission date. Vendors cannot withdraw or modify their quotations during this period.

- Cancellation Rights:
AKRSP reserves the right to cancel the RFQ or procurement process at any stage without assigning reasons. Vendors shall not claim any costs incurred during the bidding process.

- Delivery & Installation Timeline:
All materials must be delivered to the project site within 30 days of signing the agreement. Installation, testing, and commissioning shall be completed promptly thereafter.

- Bid Security:
A bid security of 2.5% of the total bid price must accompany each quotation. Acceptable forms include CDR, Pay Order, Bank Draft, or Bank Guarantee from a scheduled Pakistani bank. Non-submission will render the bid non-responsive.

- Documentation & Reporting:
Vendors must provide as-built drawings, test certificates, manuals, and commissioning reports. Proper documentation is critical for auditing and donor compliance.

- Warranty & After-Sales Service:
Supplied materials must have a minimum 2-year manufacturer warranty covering parts and services. Vendors are responsible for any replacement or repair costs during the warranty period.

- Dispute Resolution:
Any disputes arising during the contract execution will be resolved amicably. If unresolved, the matter shall be subject to applicable Pakistani law and jurisdiction of competent courts in Chitral.

- Confidentiality:
Vendors must maintain strict confidentiality regarding all RFQ and project-related information. Sharing sensitive information with third parties without AKRSP consent will lead to legal and contractual consequences.

Submission Instructions

Vendors must acknowledge receipt of this RFQ on the provided acknowledgment form. Late submissions will not be accepted under any circumstances.

Submission Deadline: Sealed quotations must be submitted by hand or courier to Regional Office AKRSP near Shahi Qilla Chitral by COB Feb 12, 2026.

Admin & Procurement Officer		Vendor Receipt & Acknowledgement

AKRSP Chitral

Name: _________________________

Designation: _____________________

Sign & Stamp

BOQ Table Khotanlasht Solar Lift Water Supply Scheme.

Discharge=4.5 LPS and Dynamic Head 246-ft, Delivery length =2000-ft HDPE pipe size 90mm

| S No | Item | Specification & Certifications | Unit | Qty | Unit Rate | Total Amount Rs |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Solar Panel 600W | • IEC 61215-1, IEC 61215-1-1, IEC 61215-2:2016 • IEC 61730-1, IEC 61730-2:2016 • TS 62804-1 • IEC61701 • IEC62716 N-Type Bifacial Recommended Brands: (JA Solar, Jinko Solar, Canadian Solar) only. Data sheets for quoted brand must be attached | No. | 20 |  |  |
| 2 | Solar Pumping Inverter (IP65 Protection) | • Capacity:12 kW • MPPT Range: 460-850Vdc • Rated O/P Voltage: 380-460Vac, 3 Phase Frequency: 0~50/60Hz, • Protection Level: IP65, MPPT Efficiency: 99% • IEC 62109-1/2, IEC 61000-6-1/2/3/4 • CQC NB/T 32004, IEC 61727 • 99.5% MPPT Efficiency 2 years Manufacturer Warranty for parts & services Recommended Brand (JNTECH) only Data sheets for quoted brand must be attached | No. | 1 |  |  |
| 3 | Submersible Pumping Set having bottom intake Mechanism (12hp) | • Stages: Performance Curve required with Selection • Capacity:12 hp • Stainless Steel Pump and Impellers according to ISO 9906 Standard • Coupling should be of NEMA Standard • Rewindable Motor in Stainless Steel Body • Motor should be water cooled. • Motor should be operatable at 3 Phase 380 Data sheets for quoted brand must be attached Recommended Brands: (Grundfos, DAB, Yildizsu, KSB, Alarko) | Set | 1 |  |  |
| 4 | Enclosure Box (Hot Dipped Galvanized) | • DC Breakers Imported Per String • Pure Copper Busbars • Cable Glands • Locking Mechanism • Water proof | No. | 1 |  |  |
| 5 | Cabling DC/ AC | • DC Cable 6mm Double Coated Cu/XLPE/PVC Per String • 4 Core Cable of Suitable Size for Pumping Set 300 feet long • Cables provided should have general test reports such as Copper Purity Test, Insulation Test, Spark Test Etc. | Lumpsum | 1 |  |  |
| 6 | Solar Panels Mounting Structure Made of Galvanized Angle Iron | • Hot Dipped Galvanized • 4mm Angle • High Wind Resistance • 30⁰-35⁰ Tilted Orientation | Panels | 20 |  |  |
| 7 | Accessories & Protection | Confirming to Standard practices including •Breakers on Each String, •Surge Protection Device, •Fuses, AC Breaker For Pump •PVC Duct Slotted, •PVC Wiring Duct Thimbles, Shrouds Complete in All respect | Job | 1 |  |  |
| 8 | Earthing (Separate Wiring) for Solar Panels & Structure, SPD, AC Wiring | Proper Earthing 6 ft deep having •16mm Pure Copper Rod •Earth Chemical •6 mm Copper Conductor minimum •Busbar •Termination kit •PVC Pipe | Job | 1 |  |  |
| 9 | Top Set Complete | Top Set Should Consist of •2 Nos Non-Rising Stem Resilient Valve PN16 •Reflex Valve PN 16, •Pressure gauge •Siphon Pipe •Suspension Clamps •20mm Flanges •Gaskets • 4 Nos. 90 Degree MS Bend 20mm Flanged •Tee 20mm Flanged •Stainless Steel Nut Bolts | No. | 1 |  |  |
| 10 | Foundation Pads for Solar Panel mounting Structures | Foundation for each leg of structure having 1.5ft x1.5ft x2ft Dimension and laid in PCC (1:2:4) | Panels | 20 |  |  |
| 11 | Supply and Installation of GI Mounting Structure for pumping set in pond | Made of hot dipped galvanized angle iron of 2"x2" size and 4 mm thick | No. | 1 |  |  |
| 12 | G.I pipe with 20mm flanges and Stainless-Steel accessories | Dia according to pump outlet size Designed to be in Z Configuration in Aquifer | ft | 40 |  |  |
| 13 | Transportation | To Project Site Khotanlasht, 140 km away from Chitral town | Job | 1 |  |  |
| 14 | Installation | Confirming Standard Practice for Complete Installation | Job | 1 |  |  |
|  | Total |  |  |  |  |  |

Foundation & Panel Support Structures Pic

Pump Support Structure Pic