Aga Khan Rural Support Program (AKRSP)

REQUEST FOR QUOTATION (RFQ)

RFQ No: AKRSP/0144/2026    Delivery Point: Koghuzi-Lower Chitral

RFQ Date: April 23, 2026,         Submission Date: May 05, 2026

## SUBJECT: REQUEST FOR QUOTATION FOR SUPPLY, TRANSPORTATION, AND INSTALLATION OF HDPE PIPES, WIRE ROPES, AND ASSOCIATED ACCESSORIES AT KOGHUZI, LOWER CHITRAL.

1INTRODUCTION

## The Aga Khan Rural Support Programme (AKRSP) invites sealed quotations from qualified, experienced, and reputable suppliers/contractors for the Supply, Transportation, and Installation of HDPE Pipes, Wire Ropes, and Associated Accessories at Koghuzi, Lower Chitral.

## AKRSP is a development organization committed to improving the quality of life of rural communities through infrastructure development, livelihood support, and sustainable resource management. This procurement is part of a critical infrastructure intervention aimed at improving water conveyance systems through a technically sound and durable pipe crossing arrangement.

## This RFQ document provides detailed specifications, submission requirements, evaluation procedures, and contractual obligations. Vendors are required to review the document thoroughly and ensure complete compliance. Any failure to adhere to the requirements may result in disqualification.

## AKRSP reserves the right to accept or reject any or all quotations without assigning any reason and shall not be liable for any costs incurred by bidders in preparing their submissions.

## OBJECTIVE OF PROCUREMENT

## The primary objective of this procurement is to ensure the timely supply, safe transportation, and proper installation of HDPE pipes and associated crossing materials, ensuring structural integrity and long-term durability under field conditions at Koghuzi.

## SCOPE OF WORK

## The selected contractor shall be responsible for:

- Procurement of all specified materials strictly according to approved standards.

- Safe transportation of materials from supplier premises to Chitral and onward to the project site.

- Handling, unloading, and storage at designated locations.

- Installation of HDPE pipes using proper butt fusion techniques.

- Installation of wire rope suspension system including anchorage, tensioning, and alignment.

- Ensuring all works meet engineering standards and site requirements.

- Rectification of defects identified during inspection.

## The bidder must thoroughly review the Bill of Quantities (BOQ) and ensure that all items required for the successful completion of the works are included in their quotation.

## ELIGIBILITY CRITERIA

Quotations are invited from firms that meet the following minimum requirements:

- Registered business entity operating in Pakistan.

- Proven experience in supply and installation of HDPE pipes and water supply schemes.

- Capacity to transport materials to remote and mountainous regions.

- Financial soundness and technical capability to complete the assignment within the stipulated timeline.

- Not blacklisted by any government, donor, or reputable organization.

EVALUATION CRITERIA:

Bids will undergo technical and financial evaluation.

- Technical Evaluation: Bidders will be assessed on a “Pass” or “Fail” basis in accordance with the criteria outlined below.

  - Work Experience: The bidder must provide at least two references demonstrating experience in the supply, transportation, and installation of HDPE pipes, wire ropes, and related accessories within the past three years. The bidder is required to submit satisfactory, detailed completion certificates or contract agreements clearly indicating the contract value.

Stage 2: Financial Evaluation

Among technically qualified bidders, the lowest evaluated bidder (responsive and compliant) will be awarded the contract.

## SUBMISSION REQUIREMENTS

- Quotations must be submitted on official company letterhead, duly signed and stamped.

- The quotation must include a complete BOQ, unit prices, total prices, applicable taxes, and validity period.

- All documents must be submitted in a sealed envelope clearly marked with RFQ number and subject.

- Incomplete, unsigned, or conditional quotations shall be considered non-responsive.

## TERMS AND CONDITIONS

### 1. Compliance with RFQ Instructions

Bidders must strictly comply with all instructions, specifications, and conditions outlined in this RFQ. Failure to adhere to any requirement may result in rejection of the quotation without further evaluation. Conditional or partial compliance shall not be entertained.

### 2. Official Submission Format

All quotations must be submitted on the bidder’s official letterhead, clearly mentioning the RFQ number, date, and subject. The quotation must be signed by an authorized representative whose designation and contact details are clearly stated.

### 3. Sealed Quotation Requirement

Quotations must be submitted in sealed envelopes to maintain confidentiality and fairness in the procurement process. Any quotation received in an unsealed or tampered envelope shall be rejected.

### 4. Deadline Compliance

Quotations received after the stipulated submission deadline shall not be considered. AKRSP shall not be responsible for courier delays or logistical issues faced by bidders.

### 5. Price Quotation and Currency

All prices must be quoted in Pakistani Rupees (PKR). Prices shall be inclusive of supply, transportation, installation, taxes, duties, and any other costs necessary to complete the assignment.

### 6. Price Validity Period

Quoted prices must remain valid for a minimum period of one (01) month from the last date of bid submission. Quotations with shorter validity periods shall be deemed non-responsive.

### 7. Price Adjustment and Variations

No price escalation or variation due to market fluctuations, fuel prices, exchange rate changes, or any other factor shall be entertained after submission of quotations or award of contract.

### 8. Unit Rate Precedence

In case of discrepancies between unit prices and total prices, the unit price shall prevail, and totals shall be recalculated accordingly. The bidder must accept the corrected price to remain eligible.

### 9. Quantity Adjustment Rights

AKRSP reserves the right to increase or decrease quantities at the time of award or during execution without changing unit rates, terms, or conditions.

### 10. Transportation Responsibility

The supplier shall be solely responsible for safe transportation of all materials to Chitral and onward to the project site. Any damage, loss, or shortage during transportation shall be borne by the supplier.

### 11. Travel, Accommodation, and Logistics

All costs related to travel, accommodation, meals, loading, unloading, and site logistics during supply and installation shall be the responsibility of the supplier.

### 12. Design and Technical Compliance

All materials supplied must strictly comply with approved designs, pressure ratings, and specifications. Substandard or non-compliant materials shall be rejected at the supplier’s cost.

### 13. Inspection and Quality Assurance

AKRSP reserves the right to inspect materials at Chitral or at the project site. Materials failing inspection shall be replaced by the supplier without any additional cost to AKRSP.

### 14. Installation Standards

Installation work must be carried out by qualified technicians using approved methods, including proper butt-fusion jointing. Poor workmanship may result in rejection and reinstallation at the supplier’s expense.

### 15. Delivery and Installation Timeline

### Supply and transportation shall be completed within fifteen (15) days of signing the agreement. Installation shall be completed within fifteen (15) days after the completion of the pipe crossing structure.

### 16. Payment Terms

### Payments will be made in instalments:

- 50% after delivery and inspection at Chitral.

- 30% after delivery at project site.

- 20% after successful installation.

### Payments are subject to verification and approval by AKRSP. Delays due to incomplete work or non-compliance will affect payment release.

### 17. Taxes and Duties

All quoted prices must be inclusive of all applicable taxes. AKRSP shall not entertain any additional tax claims after award.

### 18. Bid Security Requirement

Each bidder must submit a bid security equal to 2.5% of the total bid price in the form of CDR, Pay Order, Bank Draft, or Bank Guarantee issued by a scheduled bank of Pakistan in favor of AKRSP.

### 19. Forfeiture of Bid Security

Bid security may be forfeited if a bidder withdraws the quotation during validity, refuses contract signing, or fails to commence work as agreed.

### 20. Conflict of Interest Disclosure

Bidders must disclose any actual or potential conflict of interest. Failure to disclose may result in disqualification or termination of contract if discovered later.

### 21. Integrity, Fraud, and Ethical Conduct

AKRSP maintains zero tolerance for fraud, corruption, misrepresentation, or unethical practices. Any involvement in such acts shall lead to immediate disqualification and possible blacklisting.

### 22. Cartelization and Rate Manipulation

Any evidence of cartelization, price fixing, or submission of multiple bids under different names shall result in cancellation of procurement and blacklisting of involved entities.

### 23. Blacklisting Declaration

Bidders must confirm that they are not blacklisted by any government, donor agency, or reputable organization. False declarations shall lead to permanent disqualification.

### 24. Child Labor Prohibition

The use of child labor is strictly prohibited. The supplier must comply with national labor laws and international conventions related to child protection and workers’ rights.

### 25. Occupational Health and Safety

The supplier must ensure safe working conditions at all times and provide necessary personal protective equipment (PPE) to workers. AKRSP shall not be liable for accidents or injuries.

### 26. Environmental Responsibility

The supplier shall minimize environmental impact during transportation and installation and ensure proper disposal of waste materials.

### 27. Non-Binding Nature of RFQ

This RFQ does not bind AKRSP to award a contract. AKRSP reserves the right to accept or reject any or all quotations without assigning reasons.

### 28. Cancellation Rights

AKRSP reserves the right to cancel the procurement process at any stage without incurring any liability.

Submission Deadline:

Sealed quotations must be submitted by hand or courier to the Regional Office, AKRSP, near Shahi Qilla, Chitral, by COB. May 05, 2026

Admin & Procurement Officer,		Vendor Receipt & Acknowledgement

AKRSP Chitral		Name: _________________________

Designation: _____________________

Sign & Stamp

Description of Works:

Supply, Transportation, and Installation of HDPE pipes, Wire Ropes including all Accessories, at Koghuzi, Lower Chitral.

BOQ Table

| Sr. No. | Item Description with specifications | Units | Quantity | Unit Price (PKR) | Total Price (PKR) |
| --- | --- | --- | --- | --- | --- |
|  | HDPE Pipe PN-10, PE-100, OD 200 mm Single Pipe Length=20 ft Approved Manufacturers: Dadex, IIL, Sun-International, and Jamal Pipes will be accepted | Rft | 760 |  |  |
|  | HDPE Pipe PN-10, PE-100, OD 32 mm, Single Pipe Length=500 ft coil Approved Manufacturers: Dadex, IIL, Sun-International, and Jamal Pipes will be accepted | Rft | 500 |  |  |
|  | HDPE Pipe PN-10, PE-100, OD 20 mm, Single Pipe Length=500 ft coil Approved Manufacturers: Dadex, IIL, Sun-International, and Jamal Pipes will be accepted | Rft | 500 |  |  |
|  | Stub End HDPE, 200 mm (8-inch), PN-16, PE-100, Injection molded Approved Manufacturer: Hydroplast/Fish/Penguin | No | 09 |  |  |
|  | Flange Mild steel,Dia 8 inch, Thickness 12 mm | No | 09 |  |  |
|  | Rubber Packing/Gasket Neoprene rubber, 6 mm thick, Suitable for 8-inch flange, PN-16 | No | 07 |  |  |
|  | Nut & Bolts Set Diameter ½ inch, Length 4 inch, Complete set with washer | No | 42 |  |  |
|  | Equal Tee HDPE, 8-inch × 8-inch, PN-16, PE-100, Butt-fusion joint type | No | 01 |  |  |
|  | Flushing /Scour Valve Dia 8 inch, Resilient Seated, Ductile Iron body, PN16, Flanged ends, EPDM rubber seated wedge, Stainless Steel stem, Fusion bonded epoxy coated, conforming to BS 5163 or equivalent. | No | 01 |  |  |
|  | Gate/Sluice Valve Dia 8 inch , Resilient Seated, Ductile Iron body, PN16, Flanged ends, EPDM rubber seated wedge, Stainless Steel stem, Fusion bonded epoxy coated, conforming to BS 5163 or equivalent. | No | 01 |  |  |
|  | Air Valve Dia 1-inch, Italian made | No | 01 |  |  |
|  | Saddle Clamp Dia (200mmx25mm) Penguin, Fish and Hydroplast company | No | 01 |  |  |
|  | MS Pipe, Dia 8 inch, with equal dia flange Welded to one End | rft | 06 |  |  |
|  | Steel wire rope Dia 1 inch, (IWRC (6*19) (0.839kg/ft) Extra Improved Plowed Steel (EIPS), Galvanized | rft | 270 |  |  |
|  | Steel wire rope Dia 1/2-inch (IWRC (6*19) (0.24kg/ft) Extra Improved Plowed Steel (EIPS) Galvanized | rft | 320 |  |  |
|  | Steel Girder Size 6" × 3", Length 6 ft, Qty 2 Nos, Weight 4.35 kg/ft, Web 6 mm, Flange 7 mm | Kg | 52 |  |  |
|  | Anchorage Rods Quantity 6 Nos, Dia 1½ inch, Length 7 ft, Weight 2.7 kg/ft, MS, Bended to U shape on one end O shape on other end | kg | 38 |  |  |
|  | Bulldog Grip 22 mm dia, Heavy duty, Hot dip galvanized | No | 160 |  |  |
|  | Bulldog Grips 28 mm dia, Heavy duty, Hot dip galvanized | No | 8 |  |  |
|  | Installation of Pipes (OD 200mm only) – 760 FT 200 mm HDPE Pipes jointing via Butt Fusion, Including manpower & equipment. OD 32mm and OD 20mm pipes are not included in Installation work. | LS | 1 |  |  |
|  | Wire Rope Suspension – 190 FT Includes complete suspended installation works: - Installation of main wire ropes over anchorage blocks, towers, and structural supports. - Installation of suspender wire ropes, each fixed to the main wire ropes using bulldog grips at specified spacing. - Securing, leveling, and suspending the 200 mm HDPE pipes along the full 190 ft crossing. - Proper tensioning of main wire ropes and suspender ropes to ensure: - Correct sag and load distribution - Structural stability - Alignment accuracy - Prevention of overstress or slack - Adjustment, correction, and verification of all rope tensions prior to final acceptance. | LS | 1 |  |  |
|  | Transportation Cost All pipes & Crossing materials to project site at Koghuzi Lower Chitral | LS | 1 |  |  |
|  | Total cost |  |  |  |  |
|  | GST if applicable |  |  |  |  |
|  | Grand Total including GST |  |  |  |  |