AGA KHAN RURAL SUPPORT PROGRAMME (AKRSP)
REQUEST FOR QUOTATION (RFQ)

RFQ No.: AKRSP/0272/2026
RFQ Date: July 23, 2026,	Submission Deadline: August 5th , 2026
Project Location: Alosun Kushum Upper Chitral

AKRSP invites sealed quotations from eligible, experienced, and reputable firms/contractors for the Supply, Transportation, and Installation of HDPE Pipes, and Accessories at Alosun Kushum Upper Chitral.

The scope of work includes procurement, transportation, unloading, handling, installation of HDPE pipes, as per the specifications and Bill of Quantities (BOQ) provided in the RFQ document.

Eligibility Requirements:

- Registered business entity operating in Pakistan.

- Minimum two similar assignments are completed within the last three years.

- Proven experience in HDPE pipe supply and installation works.

- Capacity to transport materials to remote mountainous locations.

- Not blacklisted by any government, donor-funded project, or reputable organization.

Bid Security:
Each bidder shall submit a Bid Security equivalent to Two and a Half Percent (2.5%) of the Total Quoted Bid Price in the form of CDR, Pay Order, Demand Draft, or Bank Guarantee in favor of AKRSP must accompany the quotation.

Submission Method:
Bids must be submitted in a sealed envelope clearly marked with the RFQ number and title of the assignment.

Detailed RFQ Documents and BOQ:
Interested bidders may obtain/download the complete RFQ document and BOQ from the following link:

Submission Address:
Admin & Procurement Office
Aga Khan Rural Support Programme (AKRSP)
Near Shahi Qilla, Chitral

AKRSP reserves the right to accept or reject any or all quotations without assigning any reason.

AGA KHAN RURAL SUPPORT PROGRAM (AKRSP)

REQUEST FOR QUOTATION (RFQ)

RFQ No: AKRSP/0272/2026   Delivery Point: Alosun Kushum Upper Chitral

RFQ Date: July 21, 2026,        Submission Date: July 30, 2026

## SUBJECT: REQUEST FOR QUOTATION FOR SUPPLY, TRANSPORTATION, AND INSTALLATION OF HDPE PIPES AND ACCESSORIES AT ALOSUN KUSHUM UPPER CHITRAL.

1INTRODUCTION

## The Aga Khan Rural Support Programme (AKRSP) invites sealed quotations from qualified, experienced, and reputable suppliers/contractors for the Supply, Transportation, and Installation of HDPE Pipes and Accessories at Alosun Kushum Upper Chitral.

## AKRSP is a development organization committed to improving the quality of life of rural communities through infrastructure development, livelihood support, and sustainable resource management. This procurement is part of a critical infrastructure intervention aimed at improving water conveyance systems through a technically sound and durable pipe crossing arrangement.

## This RFQ document provides detailed specifications, submission requirements, evaluation procedures, and contractual obligations. Vendors are required to review the document thoroughly and ensure complete compliance. Any failure to adhere to the requirements may result in disqualification.

## AKRSP reserves the right to accept or reject any or all quotations without assigning any reason and shall not be liable for any costs incurred by bidders in preparing their submissions.

## OBJECTIVE OF PROCUREMENT

## The primary objective of this procurement is to ensure the timely supply, safe transportation, and proper installation of HDPE pipes and accessories, ensuring structural integrity and long-term durability under field conditions at Alosun Kushum Upper Chitral.

## SCOPE OF WORK

## The selected contractor shall be responsible for:

- Procurement of all specified materials strictly according to approved standards.

- Safe transportation of materials from supplier premises to Chitral and onward to the project site.

- Handling, unloading, and storage at designated locations.

- Ensuring all works meet engineering standards and site requirements.

- Rectification of defects identified during inspection.

## The bidder must thoroughly review the Bill of Quantities (BOQ) and ensure that all items required for the successful completion of the works are included in their quotation.

## ELIGIBILITY CRITERIA

Quotations are invited from firms that meet the following minimum requirements:

- Registered business entity operating in Pakistan.

- Proven experience in the supply and installation of HDPE pipes and water supply schemes.

- Capacity to transport materials to remote and mountainous regions.

- Financial soundness and technical capability to complete the assignment within the stipulated timeline.

- Not blacklisted by any government, donor, or reputable organization.

# Evaluation Criteria

The evaluation of quotations shall be conducted in a transparent, fair, competitive, and non-discriminatory manner to ensure that the selected bidder possesses the necessary technical expertise, financial capacity, and relevant experience to successfully undertake the Supply, Transportation, and Installation of HDPE Pipes and Accessories in accordance with the requirements of this Request for Quotation (RFQ).

The evaluation process shall consist of the following two (02) stages:

## Stage I – Technical Evaluation (Pass/Fail Basis)

The Technical Evaluation shall be conducted on a Pass/Fail basis. Only bidders that successfully meet all mandatory technical requirements shall be considered technically responsive and shall proceed to the Financial Evaluation stage.

The Technical Evaluation shall include, but not be limited to, the following criteria:

### 1. Relevant Experience

The bidder shall demonstrate adequate experience in the successful supply, transportation, and installation of HDPE pipelines, water supply systems, irrigation pipelines, or other similar infrastructure projects of comparable nature, complexity, and value.

To qualify, the bidder shall provide documentary evidence demonstrating either:

- Successful completion of at least two (02) contracts of similar scope and complexity during the last three (03) years, involving the supply and/or installation of HDPE pipes and associated fittings; or

- Cumulative experience through multiple contracts of a similar nature that collectively demonstrate the bidder's capability to perform the required works.

For qualification purposes, at least two (02) completed contracts shall each have a minimum contract value of PKR 3 million and shall have been completed within the last three (03) years.

The bidder shall submit the following supporting documents:

- Copies of Purchase Orders, Work Orders, or Contract Agreements or;

- Completion Certificates issued by the respective clients or;

- Project Completion Reports or Taking-Over/Acceptance Certificates, where available;

Failure to provide satisfactory documentary evidence may result in the quotation being declared technically non-responsive.

### 2. Technical Compliance

The bidder shall confirm that all offered materials fully comply with the technical specifications provided in this RFQ.

In particular, the offered HDPE pipes shall meet the following minimum requirements:

- HDPE Pipe manufactured from 100% Virgin PE-100 resin;

- Pressure Rating: PN-10;

- Outside Diameter: 200 mm;

- Manufactured in accordance with ISO 4427, DIN 8074/DIN 8075, or equivalent internationally recognized standards;

- UV stabilized for outdoor installation;

- Compatible with butt-fusion welding;

- Minimum service life of 50 years under normal operating conditions.

The successful bidder shall submit:

- Product catalogues;

- Technical data sheets;

- Manufacturer's specifications;

- Factory Test Certificates or Quality Certificates;

- Manufacturer's Warranty;

- Certificate of Compliance with applicable international standards.

The Purchaser reserves the right to verify the authenticity of all submitted technical documents.

### 3. Technical Qualification

Only bidders achieving a Pass in all mandatory technical evaluation criteria shall be declared Technically Responsive and shall qualify for the Financial Evaluation stage.

Bidders failing to satisfy any mandatory technical requirement may be declared technically non-responsive, and their financial quotations shall not be opened or considered further.

## Stage II – Financial Evaluation

### 1. Financial Evaluation

Only the financial quotations of bidders that have successfully passed the Technical Evaluation shall be evaluated. Financial quotations submitted by bidders who fail to meet the mandatory technical requirements shall not be considered.

The Financial Evaluation shall be carried out to determine the Lowest Evaluated Responsive Bidder (LERB) based on the total evaluated contract price and compliance with the requirements of this RFQ.

During the financial evaluation, the Purchaser shall assess the following:

- Total quoted contract price for the complete scope of work;

- Accuracy of unit rates, quantities, and arithmetic calculations;

- Completeness of the Bill of Quantities (BOQ), ensuring all items have been priced;

- Compliance with the prescribed quotation and pricing format;

- Inclusion of all costs related to the supply, transportation, loading, unloading, installation, labour, equipment, tools, consumables, overheads, insurance, taxes, duties, and any other incidental expenses necessary for the successful completion of the works;

The Purchaser reserves the right to verify the accuracy of the submitted financial quotation and to correct arithmetic errors in accordance with the provisions of this RFQ. In the event of any discrepancy between the unit price and the total price, the unit price shall normally prevail, and the total price shall be corrected accordingly. The bidder shall be notified of any such corrections.

If a financial quotation is determined to be unrealistically low, unbalanced, or significantly inconsistent with the scope of work, AKRSP may request the bidder to provide a written clarification and justification of its pricing. Failure to provide a satisfactory explanation may result in the quotation being declared non-responsive.

Subject to satisfactory technical compliance and successful financial evaluation, the contract shall ordinarily be awarded to the Lowest Evaluated Responsive Bidder (LERB) whose quotation:

- Is substantially responsive to all requirements of the RFQ;

- Meets the required technical specifications and quality standards;

- Demonstrates the capability to perform the contract within the required timeframe; and

- Offers the most advantageous overall value for money to the Purchaser.

The Purchaser reserves the right to accept or reject any quotation, cancel or reissue the procurement process, or negotiate permissible commercial aspects with the successful bidder where allowed under the applicable procurement policies, without incurring any liability to the participating bidders.

# TERMS AND CONDITIONS

### 1. Compliance with RFQ Requirements

Bidders shall carefully review and fully comply with all requirements, specifications, quantities, drawings, instructions, and conditions stated in this RFQ. Submission of a quotation shall be deemed as confirmation that the bidder has understood and accepted all requirements without reservation. Any deviation, omission, conditional offer, or failure to provide required information may result in disqualification of the quotation at the sole discretion of AKRSP.

### 2. Submission Deadline and Late Bids

Quotations must reach the designated AKRSP office on or before the specified closing date and time. Any quotation received after the deadline, regardless of the reason, including courier delays, transportation issues, weather conditions, or administrative errors, shall not be opened or evaluated. Timely delivery of bids remains the sole responsibility of the bidder.

### 3. Pricing and Currency Requirements

All prices shall be quoted in Pakistani Rupees (PKR) only and must include all costs associated with the assignment. The quoted rates shall cover procurement, loading, transportation, unloading, installation, taxes, duties, insurance, labor, supervision, and any incidental expenses required for successful completion of the work. No separate claims for omitted costs shall be entertained after contract award.

### 4. Validity of Quotation

The quotation shall remain valid and binding upon the bidder for a minimum period of thirty (30) calendar days from the bid submission deadline. During this period, the bidder shall not withdraw, amend, or modify the submitted rates or conditions. Quotations offering a shorter validity period may be rejected without further consideration.

### 5. Fixed Price Contract

The rates quoted by the bidder shall remain firm and fixed throughout the execution period of the contract. No adjustment shall be allowed on account of inflation, market price fluctuations, fuel price increases, currency exchange variations, labor cost changes, taxation changes, or any other unforeseen circumstances. The supplier shall be deemed to have considered all such factors while preparing the quotation.

### 6. Correction of Arithmetic Errors

AKRSP reserves the right to verify and correct arithmetic errors identified during bid evaluation. In cases where discrepancies exist between unit rates and total amounts, the unit rate shall prevail and the total amount shall be recalculated accordingly. Acceptance of such corrections shall be mandatory for the bidder to remain eligible for evaluation.

### 7. Right to Increase or Decrease Quantities

AKRSP reserves the right to increase, decrease, omit, or revise any quantity mentioned in the BOQ based on project requirements, funding availability, or site conditions. Such adjustments shall not affect the quoted unit rates or other contractual terms. The supplier shall execute the revised quantities at the agreed rates without objection.

### 8. Transportation and Delivery Responsibility

The supplier shall be fully responsible for arranging safe transportation of all materials from the source location to Chitral and onward to the designated project site. All risks associated with handling, loading, transit damage, theft, breakage, shortages, and unloading shall remain with the supplier until materials are formally inspected and accepted by AKRSP.

### 9. Travel, Accommodation, and Site Logistics

The supplier shall bear all expenses related to mobilization and deployment of personnel, including transportation, accommodation, meals, fuel, communication, loading and unloading, and site logistics. No separate reimbursement shall be made by AKRSP for such expenditures, and bidders must account for these costs in their quoted rates.

### 10. Compliance with Technical Specifications

All materials, fittings, equipment, accessories, and installation works must strictly conform to the technical specifications, approved drawings, pressure ratings, dimensions, and quality standards provided in the RFQ. AKRSP reserves the right to reject any material that does not meet the required standards or differs from approved specifications, regardless of whether it has already been delivered to the site.

### 11. Inspection and Quality Assurance

AKRSP reserves the right to inspect materials at the supplier's premises, during transportation, upon arrival at Chitral, or at the project site before installation. The supplier shall facilitate inspection and provide relevant quality certificates, manufacturer specifications, and test reports when requested. Any material found defective or non-compliant shall be replaced immediately at the supplier's expense.

### 12. Installation and Workmanship Standards

All installation activities shall be carried out by trained and experienced technical personnel using appropriate tools, equipment, and industry-recognized installation practices. Butt fusion jointing and alignment, shall be performed according to applicable engineering standards. Any defects arising from poor workmanship shall be rectified by the supplier without additional cost to AKRSP.

### 13. Delivery and Completion Schedule

The successful bidder shall complete the supply, transportation, and delivery of all materials within fifteen (15) calendar days from the date of signing the agreement or issuance of the purchase order. Installation activities shall commence immediately after completion of the pipe crossing structure and must be completed within fifteen (15) calendar days. Failure to adhere to the agreed timeline may result in penalties, contract termination, or forfeiture of bid security.

## 14. Payment Terms and Verification

Payments under the Contract shall be made in accordance with the milestones specified below and shall be subject to satisfactory performance, inspection, verification, and certification by the Purchaser. No payment shall be made for incomplete, defective, or non-compliant works or materials.

### 14.1 Payment Schedule

The Contract Price shall be paid in the following installments:

a) First Payment – 80% of the Contract Value

An amount equivalent to Eighty Percent (80%) of the Contract Price shall be released upon:

- Successful supply and delivery of all HDPE pipes, fittings, and accessories to the designated project site;

- Completion of unloading and proper stacking of materials at the site;

- Verification of the delivered quantities against the approved Bill of Quantities (BOQ);

- Inspection confirming that the materials conform to the technical specifications and quality requirements of this RFQ;

- Submission of the supplier's original invoice, delivery challans, packing lists, warranty documents, manufacturer's test certificates (where applicable), and any other documents required under the Contract; and

- Issuance of a Material Receipt and Acceptance Certificate by the Purchaser's authorized representative confirming that the materials have been received in good condition and are acceptable for installation.

### 14.2 Final Payment – 20% of the Contract Value

The remaining Twenty Percent (20%) of the Contract Price shall be released only after:

- Complete installation of the HDPE pipeline and all associated fittings in accordance with the approved specifications and applicable engineering standards;

- Successful completion of all jointing, alignment, activities, including rectification of any defects identified during inspection;

- Final inspection by the Purchaser's technical team confirming that the works have been completed to the required quality and are fully operational;

- Submission of all required completion documents, testing reports, warranty certificates, and any other documents specified in the Contract; and

- Issuance of a Final Completion and Acceptance Certificate by the Purchaser.

### 14.3 Verification and Certification

Prior to the release of any payment, the Purchaser shall have the right to verify:

- The quantity and quality of all materials supplied;

- Compliance of the HDPE pipes and accessories with the technical specifications and approved standards;

- The quality of installation workmanship;

- Completion of all contractual obligations; and

- Submission of all required contractual documentation.

The Purchaser reserves the right to withhold payment for any materials or works that are incomplete, defective, damaged, or found to be non-compliant until the identified deficiencies have been fully rectified by the Contractor at no additional cost.

AKRSP reserves the right to conduct detailed inspections and verification of all supplied materials at any stage of the procurement process.

- Where deemed necessary, AKRSP may arrange for the supplied HDPE pipes, fittings, or any associated materials to be tested by an independent accredited laboratory or testing agency to verify compliance with the technical specifications, including but not limited to:

- Material grade (PE-100);

- Pressure rating (PN-10);

- Dimensions and wall thickness;

- Compliance with ISO 4427 or equivalent international standards;

- Hydrostatic and mechanical performance;

- Workmanship and manufacturing quality.

The Contractor shall provide all reasonable assistance required for such inspections and testing, including the provision of samples, technical documentation, and access to the supplied materials.

If the test results confirm compliance with the Contract requirements, the materials shall be deemed acceptable. However, if the supplied materials fail to meet the specified standards or contractual requirements, AKRSP reserves the right to reject the affected materials in whole or in part. In such cases, the Contractor shall, at its own cost and without any additional financial implication to AKRSP, promptly replace the rejected materials with compliant materials and bear all costs associated with removal, replacement, transportation, re-testing, and any resulting delays.

### 14.4 Payment Processing

Following receipt of a complete and accurate invoice together with all supporting documents and the relevant acceptance certificates, the Purchaser shall process the payment within the period stipulated in the Contract, subject to the availability of funds and compliance with the Purchaser's internal financial procedures.

### 15. Taxes and Statutory Deductions

All quoted rates shall be inclusive of applicable federal, provincial, and local taxes, duties, levies, and other statutory charges. AKRSP shall deduct withholding taxes and other applicable deductions in accordance with prevailing laws and regulations of the Government of Pakistan. No additional claims relating to taxation shall be accepted after award of the contract.

## 16. Bid Security Requirement

Each bidder shall submit a Bid Security equivalent to Two and a Half Percent (2.5%) of the Total Quoted Bid Price as part of its quotation. The Bid Security shall serve as a guarantee that the bidder will maintain the validity of its quotation and, if awarded the contract, will enter into the Contract and fulfill all obligations in accordance with the terms and conditions of this RFQ.

The Bid Security shall be submitted in one of the following acceptable forms:

- Call Deposit Receipt (CDR);

- Pay Order;

- Demand Draft; or

- Unconditional and irrevocable Bank Guarantee issued by a scheduled bank operating in Pakistan and acceptable to AKRSP.

The Bid Security shall:

- Be made payable to Aga Khan Rural Support Programme (AKRSP);

- Be submitted in its original form together with the quotation;

- Remain valid for at least twenty-eight (28) days beyond the quotation validity period, unless otherwise specified in the RFQ.

Failure to submit the required Bid Security, submission of a Bid Security for an amount less than the required 2.5% of the Total Quoted Bid Price, or submission in an unacceptable form shall render the quotation non-responsive, and it may be rejected without further evaluation.

The Bid Security of unsuccessful bidders shall be returned promptly after completion of the procurement process and award of the Contract. The Bid Security of the successful bidder shall be returned upon execution of the Contract.

AKRSP may forfeit the Bid Security if the bidder:

- Withdraws, modifies, or attempts to alter its quotation during the bid validity period;

- Refuses or fails to accept the Letter of Award or Purchase Order after notification of award;

- Fails to sign the Contract Agreement within the stipulated period;

- Is found to have submitted false, misleading, or fraudulent information or documentation during the bidding process.

The Bid Security shall not accrue any interest and shall be returned without liability on the part of AKRSP, except in cases where forfeiture is applicable under the provisions of this RFQ.

### 17. Conflict of Interest

Bidders shall disclose any actual, perceived, or potential conflict of interest that may influence the procurement process or execution of the contract. This includes relationships with AKRSP staff, consultants, project representatives, or competing bidders. Failure to disclose such information may result in immediate disqualification or termination of the contract.

### 18. Anti-Fraud and Ethical Business Conduct

AKRSP follows strict ethical standards and maintains zero tolerance towards fraud, corruption, bribery, coercion, collusion, falsification of documents, or any form of unethical conduct. Any bidder found engaging in such practices at any stage of the procurement process shall be disqualified and may be reported to relevant authorities and donors for further action.

### 19. Prohibition of Cartelization and Price Fixing

Bidders shall prepare and submit their quotations independently and without consultation, agreement, or arrangement with competing firms. Any evidence of cartel formation, coordinated pricing, bid manipulation, cover bidding, or submission of multiple bids through affiliated entities shall lead to immediate rejection of all related quotations and possible blacklisting.

### 20. Declaration Regarding Blacklisting

The bidder must certify that neither the company nor its directors, owners, partners, or key management personnel are currently blacklisted, suspended, or debarred by any government agency, donor-funded project, development organization, or reputable institution. AKRSP reserves the right to verify such declarations and reject any bidder found to have provided false information.

### 21. Prohibition of Child Labour

The supplier shall comply with all applicable labor laws of Pakistan and international labor standards concerning child protection. Under no circumstances shall child labor be employed in manufacturing, transportation, handling, installation, or any activity related to the contract. AKRSP reserves the right to conduct verification and terminate the contract if violations are identified.

### 22. Occupational Health and Safety Obligations

The supplier shall be responsible for ensuring a safe working environment for all personnel deployed under the contract. Appropriate personal protective equipment (PPE), safety training, first aid arrangements, and risk mitigation measures shall be provided throughout execution of the work. AKRSP shall not be liable for injuries, accidents, or claims arising from the supplier's operations.

### 23. Environmental and Social Responsibility

The supplier shall undertake all activities in a manner that minimizes adverse environmental and social impacts. Waste materials, packaging, scrap, and surplus construction materials shall be properly managed and disposed of according to applicable regulations. Activities causing unnecessary damage to public property, natural resources, agricultural land, or community assets shall be the responsibility of the supplier.

### 24. Non-Binding Nature of RFQ

Issuance of this RFQ shall not constitute a commitment by AKRSP to award a contract or purchase order. AKRSP reserves the right to accept or reject any quotation, negotiate with one or more bidders, or seek additional information before making a final decision. Submission of a quotation does not create any contractual obligation on the part of AKRSP.

### 25. Right to Cancel Procurement Process

AKRSP reserves the unrestricted right to cancel, suspend, modify, or terminate the procurement process at any stage prior to contract award without providing justification. Such cancellation shall not entitle bidders to claim compensation for preparation costs, bid submission expenses, or any other associated losses.

### 26. Submission Deadline

Sealed quotations must be delivered by hand or through a reputable courier service to the Regional Office, AKRSP, Near Shahi Qilla, Chitral, no later than Close of Business (COB) on August 5th  , 2026. Quotations received after the specified deadline shall not be opened and shall be returned unopened where practicable.

Admin & Procurement Officer,		Vendor Receipt & Acknowledgement

AKRSP Chitral		Name: _________________________

Designation: _____________________

Sign & Stamp

Description of Works:

Supply, Transportation, and Installation of HDPE pipes & Accessories, at Alosun Kushum Upper Chitral.

BOQ Table

| Sr. No. | Item Description with specifications | Units | Quantity | Unit Price (PKR) | Total Price (PKR) |
| --- | --- | --- | --- | --- | --- |
|  | HDPE Pipe – PE-100, PN-10, SDR-17, OD 200 mm, conforming to ISO 4427/PSQCA standards. Single pipe length = 20 ft. | ft | 1500 |  |  |
|  | Stub End HDPE, 200 mm (8-inch), PN-16, PE-100, Injection molded | No | 12 |  |  |
|  | Flange Mild steel, Dia 8 inch, Thickness 12 mm | No | 12 |  |  |
|  | Rubber Packing/Gasket Neoprene rubber, 6 mm thick, Suitable for 8-inch flange, | No | 6 |  |  |
|  | Nut & Bolts Set Diameter ½ inch, Length 4 inch, Complete set with washer | No | 36 |  |  |
|  | Installation of HDPE Pipes Butt fusion welding of 200 mm HDPE pipes including skilled labor, fusion machine, fittings, jointing materials, complete in all respects. | LS | 1 |  |  |
|  | Transportation Cost Transportation, loading, unloading and local carriage of HDPE pipes, Alosun Kushum project site.(100 Km from Chitral Lower) | LS | 1 |  |  |
|  | Total cost |  |  |  |  |
|  | GST if applicable |  |  |  |  |
|  | Grand Total including GST |  |  |  |  |